TITLE

CEOP_Tsukuba_AO_20080701_20081231.sfc

CONTACT

Nozomu Ohkawara

Aerological Observatory / JMA

Nagamine 1-2, Tsukuba, Ibaraki 305-0052 Japan

E-mail: ohkawara@met.kishou.go.jp

DATE OF THIS DOCUMENT

31 January 2008

1. 0 DATASET OVERVIEW

  - Introduction

The Aerological Observatory (AO) was established at Tsukuba in 1920 specializing in upper air meteorology. The Observatory, currently one of the auxiliary organs of the Japan Meteorological Agency, is in charge of upper atmosphere, radiation and the ozone layer with instruments on the ground or sondes reaching up to about 30 km. Relevant researches here contributes to operational weather forecasts, monitoring of climate change and the global environment. The aerological data and radiation data are provided from AO to the GEWEX Baseline Surface Radiation Network (BSRN) project, where the CEOP Tsukuba project is archiving both of types of data.

  - Time period covered by the data

Start: 1 July 2008, 00:00 UTC

End: 31 December 2008, 23:30 UTC

  - Temporal characteristics of the data

Original data consists of one-minute mean radiation variables calculated from one-second sampled data. Only upward and downward short-wave and long-wave radiation data are converted to 30 minute intervals by the methods shown in Section 3.2.

  - Physical location of the measurement

Latitude: 36°03′ N

Longitude: 140°08′ E

Elevation: 25.2 m

Address: Aerological Observatory, 1-2 Nagamine, Tsukuba, Ibaraki, 305-0031 Japan

  - Data source

Monthly base data (tat****) was archived from the GEWEX Baseline Surface Radiation Network (BSRN) project home page (http://bsrn.ethz.ch/) by the CEOP-Tsukuba data centre.

  - WWW address references

< The Aerological Observatory >

http://www.kousou-jma.go.jp/english/index.htm

<GAWEX/BSRN>

http://www.gewex.org/bsrn.html

2.0 INSTRUMENTATION DESCRIPTION

2.1 Platform

2.2 Description of the instrumentation

| Parameter | Model | Manifacturer |
| --- | --- | --- |
| Downward Shortwave Radiation | CM-21, CM-22 | Kipp&Zonen (The Netherlands) |
| Upward Shortwave Radiation | CM-21, CM-22 | Kipp&Zonen (The Netherlands) |
| Downward Longwave Radiation | PIR CG4 | Eppley (USA) Kipp&Zonen (The Netherlands) |
| Upward Longwave Radiation | PIR CG4 | Eppley (USA) Kipp&Zonen (The Netherlands) |

  - Instrumentation specification

| Parameter | Sensor Type | ## Accuracy | ## Resolution |
| --- | --- | --- | --- |
| Downward Shortwave Radiation | thermopile | 2% or 5W/m^2 | 1W/m^2 |
| Upward Shortwave Radiation | thermopile | 5% | 1W/m^2 |
| Downward Longwave Radiation | thermopile | 2% or 3W/m^2 | 1W/m^2 |
| Upward Longwave Radiation | thermopile | 2% or 3W/m^2 | 1W/m^2 |

3.0 DATA COLLECTION AND PROCESSING

3.1 Description of data collection

Archived monthly base data from BSRN was divided into two parts, one contains radiation data starting with U0100 section, and the other contains radio-sonde data starting with U1100 section.  The radiation data, composed of time sequences with one minute resolution, were averaged into 30-min interval, then converted to follow the CEOP surface meteorological and radiation data set format definition.

3.2 Description of derived parameters and processing techniques used

Original data format of the U0100 section is as follows (see details at http://bsrn.ethz.ch/);

________________________________________________________________________________

logical  line  description of field/                 Range of  Missing  Format

record   no.   format of line                        values    code     of v./l.

________________________________________________________________________________

0100     1     date [day]                            1 - 31             I2

basic    1     time [minute]                         0 - 1439           I4

meas.    1     global 2 (mean, std. dev., min., max.:

columns 12 - 31)                                -999 or  I4 or

1     direct (mean, std. dev., min., max.:            -99.9    F5.1

columns 35 - 54)

2     diffuse (mean, std. dev., min., max.:

columns 12-31)

2     downward longwave radiation (mean, std. dev.,

min., max.: columns 35 - 54)

2     air temperature at downw. longw. instr. height  -99.9    F5.1

2     relative humidity at ...                        -99.9    F5.1

2     pressure at ...                                 -999     I4

(X,I2,X,I4,2(3X,I4,X,F5.1,X,I4,X,I4),/

8X,2(3X,I4,X,F5.1,X,I4,X,I4),4X,F5.1,X,F5.1,X,I4)

3     date [day]                            1 - 31             I2

3     ...

2 lines for each time measured

One minute mean values of four components, such as downward-shortwave, downward-longwave, upward-shortwave and upward-longwave radiation, are averaged in 30 minutes (e.g. 1:00AM value is an average for 0:31-1:00), and converted to CEOP format.  30-min data is treated as missing if there are any missing values in the 1-min original data.

4.0 QUALITY CONTROL PROCEDURES

Nighttime negative values for short-wave radiation is treated as 0 W/m2.

5.0 GAP FILLING PROCEDURES

No gap filling procedure was applied.

6.0 DATA REMARKS

6.1 PI's assessment of the data

6.1.1 Instruments problems

6.1.2 Quality issues

Data quality is almost good.

6.2 Missing data periods

7.0 REFERENCE REQUIREMENTS.

8.0 REFERENCES