TITLE

CEOP_Tsukuba_MRI_20070701_20071231.sfc
CONTACT

Shigenori Haginoya

Meteorological Research Institute
1-1, Nagamine Tsukuba Ibaraki 305-0052 JAPAN
E-mail: shaginoy@mri-jma.go.jp
DATE OF THIS DOCUMENT

27 August 2007
1. 0 DATASET OVERVIEW

1.1 Introduction

Intensive meteorological observations have been conducted on the grounds of the Meteorological Research Institute, Tsukuba Japan, since November 2002 in order to provide long-term monitoring of the meteorological elements in the Tsukuba area. This is a typical suburban area, located on the Kanto plains. The observation field is covered by grass, which is cut several times a year.
1.2 Time period covered by the data

Start: 1 January 2007, 00:00

End: 31 December 2007, 23:30

1.3 Temporal characteristics of the data

All parameters are recoded every 30 minutes intervals.

1.4 Physical location of the measurement

Latitude: 36° 03' 09" N 

Longitude: 140° 07' 24" E

Elevation: 25.2 m a.s.l.

1.5 Data source

Original data is provided by MRI.

1.6 WWW address references

2.0 INSTRUMENTATION DESCRIPTION

2.1 Platform
The sensors are mounted on a 1.5m and a 6-m masts.

2.2 Description of the instrumentation
	Parameter
	Model
	Manifacturer

	Wind Speed
	YG-5103
	Young (USA)

	Wind Direction
	YG-5103
	Young (USA)

	Air Temperature
	HMP45D
	Vaisala (Finland)

	Relative Humidity
	HMP45D
	Vaisala (Finland)

	Radiation temperature
	CML-303N
	Climatec (Japan)

	Downward Shortwave Radiation
	CNR1
	Kipp&Zonen (The Netherlands)

	Upward Shortwave Radiation
	CNR1
	Kipp&Zonen (The Netherlands)

	Downward Longwave Radiation
	CNR1
	Kipp&Zonen (The Netherlands)

	Upward Longwave Radiation
	CNR1
	Kipp&Zonen (The Netherlands)

	Net radiation
	CNR1
	Kipp&Zonen (The Netherlands)

	Precipitation
	34-T
	Ota Keiki (Japan)

	Pressure
	PTB-200
	Vaisala (Norway)


2.3 Instrumentation specification

	Parameter
	Sensor Type
	Height of sensor (m)
	Accuracy
	Resolution

	Wind Speed
	vane
	7.50
	0.1 m/s
	0.05 m/s

	Wind Direction
	Potentiometer
	7.50
	1%
	0.1°

	Air Temperature
	Thermo-resistance
	1.50
	0.1°C
	0.025°C

	Relative Humidity
	Capacitive Plate
	1.50
	2.5%
	0.2%

	Radiation temperature
	thermopile
	0.70
	+/-(2+0.1%output range)°C: 0-200°C

+/-(10%reading+2+0.1% output range) °C: below 0°C
	0.1°C

	Downward Shortwave Radiation
	thermopile
	1.60
	10% (daily total)
	0.1W/m^2

	Upward Shortwave Radiation
	thermopile
	1.60
	10% (daily total)
	0.1W/m^2

	Downward Longwave Radiation
	thermopile
	1.60
	10% (daily total)
	0.1W/m^2

	Upward Longwave Radiation
	thermopile
	1.60
	10% (daily total)
	0.1W/m^2

	Net radiation
	thermopile
	1.60
	10% (daily total)
	0.1W/m^2

	Precipitation
	Tipping Bucket
	0.80
	+/-0.5mm (<=20mm/hr)

+/-3% (>20mm/h)
	0.5 mm

	Pressure
	Silicon capacitance 
	5.30
	+/-0.2hPa
(800-1050hPa)
	0.01hPa


3.0 DATA COLLECTION AND PROCESSING
3.1 Description of data collection
Data are downloaded from the AWS every 30 minutes, then sent to data server PC, where they are processed.

3.2 Description of derived parameters and processing techniques used
Temperature, relative humidity, radiation temperature and 4-components radiation are the previous 30 minutes average values.  Precipitation is accumulated on the previous 30 minutes.  Wind speed is scalar average and wind direction is vector average of unit vector over the previous 30 minutes (calculated by the datalogger by means of data recorded every 5 seconds).  Pressure data is used the Tateno Aerological Observatory apart from 400m north-east of the present site.  Original data is instantaneous hourly value.  30 minutes data is calculated the average of hourly data just before and after.

4.0 QUALITY CONTROL PROCEDURES

For all parameters, the data have been visually checked, looking for extremely low/high values and/or periods with constant values. Nocturnal shortwave radiation data has been checked for non-zero values; wind speed and direction for sensor freezing (in that case recorded wind speed is zero and wind direction is 360°); precipitation data was completely rejected due to sensor fault. The quality control flags follow the CEOP data flag definition document.

5.0 GAP FILLING PROCEDURES

No gap filling procedure was applied.

6.0 DATA REMARKS

6.1 PI's assessment of the data
6.1.1 Instruments problems
6.1.2 Quality issues
6.2 Missing data periods
7.0 REFERENCE REQUIREMENTS

Original data was collected and is provided within the framework of the CEOP Tsukuba Project, funded by grants-in-aid for scientific research by Japan Society for the Promotion of Science, CEOP Tsukuba DB, No. 198052.
8.0 REFERENCES

PAGE  
1

