TITLE

CEOP_Tsukuba_NIES_20070701_20071231.nc

CONTACT

Atsushi SHIMIZU

Asian Environement Research Group

National Institute for Environtmental Studies

16-2 Onogawa, Tsukuba 305-8506 Japan

E-mail: shimizua@nies.go.jp

DATE OF THIS DOCUMENT

12 February 2008

1. 0 DATASET OVERVIEW

  - Introduction

The National Institute for Environmental Studies (NIES) has developed an automated-dual-wavelength-polarization lidar network in the East Asian region. As of August 2007, 15 lidars are operated continuously in Japan, Korea, China, Mongolia, and Thailand. All observation results are transferred to NIES, and quicklook figures are drawn up within 1 hour of each observation. Such figures are available in lidar group's web site (http:www-lidar.nies.go.jp).

A lidar in Tsukuba is the oldest one in the network, and has been operated since 1996. It can detect all aerosol layers in the lower/middle troposphere,  and clouds up to the tropopause. Data can be utilized in the studies of radiation budget, climatologies of cloud/aerosol, detection of outflow from continents and so on.

  - Time period covered by the data

Start: 1 July 2007, 00:00 UTC

End: 31 December 2007, 23:45 UTC

  - Temporal characteristics of the data

One vertical profile of backscattering intensity is obtained with 5-minute operation of a lidar. In the NIES lidar network, profiles are obtained every 15 minutes. The lidar is operated regardless of weather conditions even if rain or snow is falling.  The time recorded in the data file indicates the beginning of one observation. Actually, the data is time-averaged between the starting time and 5 minutes after.

  - Physical location of the measurement

Latitude: 36.05 N

Longitude: 140.12 E

Elevation: 29 m a.s.l.

  - Data source

Original data provided by NIES.

  - WWW address references

http://www-lidar.nies.go.jp/

2.0 INSTRUMENTATION DESCRIPTION

2.1 Platform

The lidar system is equipped in a 20-foot container. It is air-conditioned and has a transparent glass window on the roof. Laser beams and scattered light from the atmosphere pass through the glass, and the window is never open.

2.2 Instrumentation specification

| Laser light source | Flashlamp pumped Nd:YAG |
| --- | --- |
| Wavelength | 532nm/1064nm |
| Power | 50mJ/50mJ |
| Pulse repetition | 10Hz |
| Diameter of telescope | 35cm |
| Field of view | 1mrad |
| Receiver | PMT/APD |
| AD conversion | 8 bit oscilloscope |
| Range resolution | 6m |

3.0 DATA COLLECTION AND PROCESSING

3.1 Description of data collection

Data are transmitted near real-time from the lidar operation PC to NIES lidar-network data server.

3.2 Description of derived parameters and processing techniques used

Removing background light, and range-squared correction are common procedures in lidar data analysis. Cloud base height is detected using a vertical gradient of intensity at 1064 nm. In clear cases, the aerosol extinction coefficient at 532 nm (unit is /m) is calculated by backward Fernald's method (Appl. Opt., 1984) with the boundary height at 6 km. athe lidar ratio (S1) is set to 50 sr, and the molecular backscattering coefficient is calculated using U.S. Standard Atmosphere (1971).

4.0 QUALITY CONTROL PROCEDURES

No specific quality control. If there are a missing data among the original 15-minute interval data, the 30-minute interval data are treated as NODATA (-999.9).

The quality control flags follow the CEOP data flag definition document.

- FILE FORMAT

Processed lidar data is stored in netCDF format, which is self-describing binary. See

http://www.unidata.ucar.edu/software/netcdf/

6.0 DATA REMARKS

6.1 PI's assessment of the data

6.1.1 Instruments problems

IR channel contains strange signal near 2km altitude for long time.

6.1.2 Quality issues

Data quality is almost good.

6.2 Missing data periods

If there is at least one missing datum in the original data, the 30minute interval data with CEOP format are treated as missing (-999.99).  Periods with the missing data are listed below.

7.0 REFERENCE REQUIREMENTS

Original data were collected and provided within the framework of the NIES lidar network, partly supported by MOE, and MEXT.

8.0 REFERENCES

Shimizu, A., N. Sugimoto, I. Matsui, K. Arao, I. Uno, T. Murayama, N. Kagawa, K. Aoki, A. Uchiyama, and A. Yamazaki (2004), Continuous observations of Asian dust and other aerosols by polarization lidars in China and Japan during ACE-Asia, J. Geophys. Res., 109(D19), D19S17, doi: 10.1029/2002JD003253.